## Sheet1
AHU Data
| Manufacturer | Model Number | CAV/VAV | Airflow Data [CFM] |  |  | Supply Fan Data |  |  |  | Return Fan Data |  |  |  | Heating Data |  |  |  | Cooling Data
|  |  |  | Total Supply Air | Outside Air | Return Air | HP | Voltage | Phase | Hz | HP | Voltage | Phase | Hz | MBH | EAT [deg F] | RAT [deg F] | SAT [deg F] | MBH | EAT [deg F] | RAT [deg F] | SAT [deg F]
Design | Trane | ABC-123-SW | VAV | 12000 | 7000 | 5000 | 5 | 208 | 3 | 60 | 3 | 208 | 3 | 60 | 120
Alt. 1 | Greenheck | XYZ-789-RF | VAV | 12500 | 7500 | 5000 | 5 | 208 | 3 | 60 | 3 | 208 | 3 | 60 | 115
Alt. 2 | York | GHI-567-SK | CAV | 10500 | 10500 | 0 | 5 | 110 | 1 | 60 | N/A | N/A | N/A | N/A